## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 190384
Peak Shortage (MW) | 441
Energy Met (MU) | 4447.32
Energy Shortage (MU) | 3.07
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 218656