## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 197687
Peak Shortage (MW) | 1487
Energy Met (MU) | 4468.35
Energy Shortage (MU) | 8.35
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 217388