## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 179999
Peak Shortage (MW) | 406
Energy Met (MU) | 4331.15
Energy Shortage (MU) | 2.08
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 214554