## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 174100
Peak Shortage (MW) | 132
Energy Met (MU) | 4057.54
Energy Shortage (MU) | 1.019
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 193298