## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 187114
Peak Shortage (MW) | 250
Energy Met (MU) | 4259.89
Energy Shortage (MU) | 0.63383
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 206560