## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 186676
Peak Shortage (MW) | 350
Energy Met (MU) | 4447.47
Energy Shortage (MU) | 1.24
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 219016