## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 181612
Peak Shortage (MW) | 298
Energy Met (MU) | 4336.59
Energy Shortage (MU) | 1.454
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 206220