## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 196695
Peak Shortage (MW) | 399
Energy Met (MU) | 4615.39
Energy Shortage (MU) | 1.635
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 218897