## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 198964
Peak Shortage (MW) | 569
Energy Met (MU) | 4663.42
Energy Shortage (MU) | 2.465
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 217549.5825