## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 197667
Peak Shortage (MW) | 1261
Energy Met (MU) | 4694.1
Energy Shortage (MU) | 4.02
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 221701