## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 193862
Peak Shortage (MW) | 485
Energy Met (MU) | 4595.68
Energy Shortage (MU) | 1.53
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 215800