## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 165355
Peak Shortage (MW) | 0
Energy Met (MU) | 4059.38
Energy Shortage (MU) | 0.13
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 182600