## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 197897
Peak Shortage (MW) | 443
Energy Met (MU) | 4609.21
Energy Shortage (MU) | 0.971
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 211199