## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 203431
Peak Shortage (MW) | 206
Energy Met (MU) | 4800.64
Energy Shortage (MU) | 2.719
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 212896