## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 205339
Peak Shortage (MW) | 418
Energy Met (MU) | 4882.66
Energy Shortage (MU) | 2.912
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 215883