## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 208063
Peak Shortage (MW) | 118
Energy Met (MU) | 4860.36
Energy Shortage (MU) | 5.18
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 214955