## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 211982
Peak Shortage (MW) | 1954
Energy Met (MU) | 5015.56
Energy Shortage (MU) | 15.108
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 222968