## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 214064
Peak Shortage (MW) | 993
Energy Met (MU) | 5051.28
Energy Shortage (MU) | 8.788
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 223110