## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 211334
Peak Shortage (MW) | 132
Energy Met (MU) | 5016.28
Energy Shortage (MU) | 6.2006
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 226371