## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 216305
Peak Shortage (MW) | 318
Energy Met (MU) | 5050.48
Energy Shortage (MU) | 7.968
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 225926