## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 220040
Peak Shortage (MW) | 300
Energy Met (MU) | 5167.85
Energy Shortage (MU) | 5.027
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 235062