## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 227272
Peak Shortage (MW) | 1168
Energy Met (MU) | 5416.08
Energy Shortage (MU) | 8.6217
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 249159