## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 210933
Peak Shortage (MW) | 0
Energy Met (MU) | 5289.97
Energy Shortage (MU) | 1.36
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 245419