## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 210150
Peak Shortage (MW) | 0
Energy Met (MU) | 5119.25
Energy Shortage (MU) | 1.75
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 238588