## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 214977
Peak Shortage (MW) | 360
Energy Met (MU) | 5030.01
Energy Shortage (MU) | 3.0579
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 231951