## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 217906
Peak Shortage (MW) | 390
Energy Met (MU) | 5024.77
Energy Shortage (MU) | 6.427
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 228617