## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 218444
Peak Shortage (MW) | 64
Energy Met (MU) | 5187.66
Energy Shortage (MU) | 2.02
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 234856