## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 219425
Peak Shortage (MW) | 441
Energy Met (MU) | 5224.5
Energy Shortage (MU) | 6.189
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 233615