## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 220264
Peak Shortage (MW) | 2012
Energy Met (MU) | 5251.67
Energy Shortage (MU) | 15.506
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 238957