## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 214042
Peak Shortage (MW) | 509
Energy Met (MU) | 5143.83
Energy Shortage (MU) | 21.8
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 231161