## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 223665
Peak Shortage (MW) | 1842
Energy Met (MU) | 5308.85
Energy Shortage (MU) | 36.2482
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 240135