## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 219922
Peak Shortage (MW) | 753
Energy Met (MU) | 5314.05
Energy Shortage (MU) | 19.371
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 239329