## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 215152
Peak Shortage (MW) | 1342
Energy Met (MU) | 5236.66
Energy Shortage (MU) | 16.196
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 239060