## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 216481
Peak Shortage (MW) | 225
Energy Met (MU) | 5044.54
Energy Shortage (MU) | 4.15
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 229780