## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 217082
Peak Shortage (MW) | 1233
Energy Met (MU) | 5070.26
Energy Shortage (MU) | 9.387
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 226637