## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 209492
Peak Shortage (MW) | 396
Energy Met (MU) | 4702.46
Energy Shortage (MU) | 0.359
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 209923