## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 206239
Peak Shortage (MW) | 1487
Energy Met (MU) | 4729.94
Energy Shortage (MU) | 10.257
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 210502