## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 210437
Peak Shortage (MW) | 2166
Energy Met (MU) | 4882.89
Energy Shortage (MU) | 10.323
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 214980