## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 213496
Peak Shortage (MW) | 1057
Energy Met (MU) | 4967.64
Energy Shortage (MU) | 10.534
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 217154