## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 214985
Peak Shortage (MW) | 75
Energy Met (MU) | 5049.26
Energy Shortage (MU) | 1.629
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 221080