## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 209104
Peak Shortage (MW) | 3477
Energy Met (MU) | 4886.03
Energy Shortage (MU) | 18.5
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 214557