## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 215331
Peak Shortage (MW) | 2335
Energy Met (MU) | 4982.4
Energy Shortage (MU) | 17.405
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 217380