## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 213922
Peak Shortage (MW) | 1954
Energy Met (MU) | 4976.64
Energy Shortage (MU) | 12.007
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 215795