## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 213575
Peak Shortage (MW) | 2611
Energy Met (MU) | 4952.47
Energy Shortage (MU) | 15.45
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 214749