## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 211149
Peak Shortage (MW) | 410
Energy Met (MU) | 4864.19
Energy Shortage (MU) | 3.7114
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 211521