## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 204046
Peak Shortage (MW) | 0
Energy Met (MU) | 5030.43
Energy Shortage (MU) | 4.06
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 225361