## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 210904
Peak Shortage (MW) | 928
Energy Met (MU) | 4861.8
Energy Shortage (MU) | 3.963
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 214688