## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 194057
Peak Shortage (MW) | 97
Energy Met (MU) | 4469.79
Energy Shortage (MU) | 0.279
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 194416