## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 198589
Peak Shortage (MW) | 235
Energy Met (MU) | 4571.55
Energy Shortage (MU) | 0.897
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 201232