## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 195145
Peak Shortage (MW) | 95
Energy Met (MU) | 4441.67
Energy Shortage (MU) | 0.77
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 198487